## Site Implementation plan
DRAFT - ENERGY SAVINGS ACTION PLAN
Facility name: |  | ABC Factory
Location: |  | Hanoi, Vietnam
Respondent's contact info
Name:
Phone:
Email:
GUIDANCE TO COMPLETE THIS TABLE | Add any energy saving measure you deem necessary, select the measures from the adidas or Enerteam training materials | - Describe how the measure saves energy - Indicate whether power from the grid, gas, fuel oil, or other energy source would be saved - Indicate if you feel the measure is easy to implement or difficult | Indicate if the energy saving measure saves electricity or fuel (indicate type of fuel) | Start with indicative values if necessary. Estimates can be refined later. | Estimate CO2 emissions (you can use the materials provided, either from the adidas training materials or the Enerteam energy savings) | Provide an indicative savings estimate. The stated figure can be revised later once further analysis is made | Provide an indicative capex estimate. the stated figure can be revised later once further analysis is made | Provide a payback period | Please provide any additional benefits from implementing such measures | Provide information on implementation time/date | Provide information on the status of each measure, eg. feasibilty under assessment; approved; under implementation, etc | Please indicate the staff that is required to be involved in undertaking the energy savings implementation | Please indicate if any financial support is needed to develop the project (e.g., to hire external consultants to assess the opportunity, determine the savings, specify the equipment etc.) Also, if additional budget is required (e.g., existing departmental budgets cannot cover the investment), or if third party finance is considered appropriate
| ENERGY SAVING MEASURE DESCRIPTION |  |  | FEASIBILITY | [5 empty] | IMPLEMENTATION STATUS |  | SUPPORT REQUIRED
Category of energy saving measure | Energy saving measure | EE measure brief description | Energy source | Estimated energy savings (MWh/yr) | Estimate CO2 reduction (%) | Potential cost savings (USD/yr) | Capex required (USD) | Simple payback period (yr) | Additional benefits | Earliest commisioning date | Project status | Technical | Financial
Low cost | Check and fix compressed air leakage | Peridocally to check and fex air leakage | Electricity | 59.618 | To be determined based on the outcome of energy audit | 4506.4378 | Maintainance cost | immediate | System reliability | 2022-01-01 | Planning finalisation | Plant engineer | Off-balance finance required
Low cost | Energy management | 1 Adjust working hour schedule for workshop area to maximise production line utilisation 2. Turn off machines at the end of the day and when not in use (either manually or automatically) | Electricity | 120 | To be determined based on the outcome of energy audit | 100 | 70 | 0.7 |  | 2021-10-01 | Approved by management | Facility technician/engineer
Low cost | Reduce 10% of steam consumption | Install steam trap on condensate pipe to limit flow of steam for ironing process | Steam | 220 | 5 | 1000 | 500 | 0.5 | Less heat at the condensate pipe | 2021-11-01 | Approved by management | Facility technician/engineer, shift supervisor | Off-balance finance required
Medium cost | Replace T5 FTL by LED | Number of T5 lights need to replace by LED is 2000 lights | Electricity | 48 | 8 | 4120.1717 | 8583.691 | 2.0833 | No hazardous waste | 2022-03-01 | Planning finalisation | Plant engineer, shift supervisor | Off-balance finance required
Medium cost | Install VSDs for air compressors | Existing AC without VFD. Power rate of AC is 55 kW. Operating hour per year is 5000 hours AC with VFD can help to save about 15% elctricity consumption | Electricity | 41.25 | To be determined based on the outcome of energy audit | 1974.2489 | 6500 | 3.2924 | Stable and quick supply of compressed air | 2021-11-01 | Approved by management | Plant engineer | Request for additional budget
|  |  |  | 488.868 | 13 | 11700.8584 | 15653.691 | 6.5757
Note 1: Please determine the threshold value for no/low-cost and high-cost measures in USD.
Note 2: Not every field has to be filled. If you cannot find the reduction potential or CAPEX after doing own research, don't worry. This exercise will help you get used to these sort of assessments.